Safe Job Analysis: Use of the D8 A25 Powder Diffractometers

RECX1 high resolution powder diffractometer

Room ØU34

General

| Subtask | What could go Wrong | How to prevent consequences of this |
| --- | --- | --- |
| Opening radiation Cabinet | X-ray exposure | - Do not bypass safety circuits. |
| Sample handling | Chemical hazards | - Be aware of the chemical hazards and use the appropriate protection measures - Do not touch the instruments or computers with contaminated gloves! |
| Changing sample stages | Electric Shock | - Always turn off the generator and set the instrument to standby before changing sample stages. |

Ancillary Equipment: Heat Gun

| Subtask | What could go Wrong | How to prevent consequences of this |
| --- | --- | --- |
| Running and moving the heater | Burns and overheating | - Do not touch the heater barrel when hot - Always ensure proper air flow (??? Bar of pressure on regulator) before starting heater. |

Safe Job Analysis: Use of the D8 A25 Powder Diffractometers

RECX2 Multipurpose powder diffractometer

Room ØU34

General

| Subtask | What could go Wrong | How to prevent consequences of this |
| --- | --- | --- |
| Opening radiation Cabinet | X-ray exposure | - Do not bypass safety circuits. |
| Sample handling | Chemical hazards | - Be aware of the chemical hazards and use the appropriate protection measures - Do not touch the instruments or computers with contaminated gloves! |
| Changing sample stages | Electric Shock | - Always turn off the generator and set the instrument to standby before changing sample stages. |

Ancillary Equipment: Flip Stick Automatic Sample Changer

| Subtask | What could go Wrong | How to prevent consequences of this |
| --- | --- | --- |
| Changing samples and other work inside the cabinet | Sample changer motors can move when door is open | - Do not open the door when the flipstick is moving between sample positions. |
| Changing stages | Electric shock Optical surface of stage may be damaged | - Always power down the source and the instrument before disconnecting the Flipstick. - Do not touch or otherwise contaminate the optical screen on the sample magazine. |

Ancillary Equipment: Motorised XYZ stage

| Subtask | What could go Wrong | How to prevent consequences of this |
| --- | --- | --- |
| Changing samples and other work inside the cabinet | Motors could cause injury if moving | Do not open the doors when the stage is moving. |

Ancillary Equipment: Anton HTK1200 Paar Furnace

| Subtask | What could go Wrong | How to prevent consequences of this |
| --- | --- | --- |
| Changing samples and other work inside the cabinet | Heat | - Do not touch when hot. - Always check the water flow before starting the furnace. |
| Changing Stages | Electric shock Flood | - Always power down the source and the instrument before (dis)connecting the cables to the furnace. - Turn off the water before disconnecting the cooling water tubes. |