## Risk assessment matrix

The risk assessment is according to the general procedure for risk assessment at UiO, and we are using a 5x5 risk assessment matrix.

Description of likelihood:

| Likelyhood |  | Description (This depends on what is being assessed, but these are examples): |
| --- | --- | --- |
| 1 | Rare | < 1x pr 50 yrs. or rarer |
| 2 | Unlikely | < 1x per 10 yrs. or rarer |
| 3 | Likely | < 1x per yr. or rarer |
| 4 | Highly likely | 1x per month or more often |
| 5 | Near certainty | Occurs weekly |

## Description of consequence:

|  | Consequence: | Human: | Environment: | Equipment and economy: | Reputation: |
| --- | --- | --- | --- | --- | --- |
| 1 | Minimal | Injury that requires first aid | Minimal damage and short restitution | Activity stop < 1 day | Little influence on credibility and respect. |
| 2 | Minor | Injury that requires medical treatment | Minor damage and short restitution. | Activity stop < 1 week | Negative influence on credibility and respect. |
| 3 | Major | Serious personal injury | Minor damage and long restitution. | Activity stop < i month | Reduced credibility and respect. |
| 4 | Serious | Serious personal injury, possible invalidity. | Long term damage, long restitution. | Activity stop ½ - 1 year. | Severely reduced credibility and respect. |
| 5 | Catastrophic | Death | Extremely long, not reversible damage. | Activity stop i more than 1 year. | Permanently reduced credibility and respect. |

| Likelyhood | 5 | 1*5 | 2*5 | 3*5 | 4*5 | 5*5 |
| --- | --- | --- | --- | --- | --- | --- |
|  | 4 | 1*4 | 2*4 | 3*4 | 4*4 | 5*4 |
|  | 3 | 1*3 | 2*3 | 3*3 | 4*3 | 5*3 |
|  | 2 | 1*2 | 2*2 | 3*2 | 4*2 | 5*2 |
|  | 1 | 1*1 | 2*1 | 3*1 | 4*1 | 5*1 |
|  |  | 1 | 2 | 3 | 4 | 5 |
|  | Consequence |  |  |  |  |  |

Conclusion:

| Colour |  | Description |
| --- | --- | --- |
| Red | 10-25 | Unacceptable risk. Actions must be performed to reduce risk. |
| Yellow | 4-9 | Assessment area. The need for further actions to reduce riks should be assessed. |
| Green | 1-4 | Acceptable risk. Actions can be made. |

Hazard symbols

| GHS01 |  |
| --- | --- |
| GHS02 |  |
| GHS03 |  |
| GHS04 |  |
| GHS05 |  |
| GHS06 |  |
| GHS07 |  |
| GHS08 |  |
| GHS09 |  |